## MAY 2026
DAILY MIS -UTILITY CNH | [16 empty] | Sterling and Wilson Pvt. Ltd.
POWER GENERATION (KWH) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | TOTAL
| FRI | SAT | SUN | MON | TUE | WED | THU | FRI | SAT | SUN | MON | TUE | WED | THU | FRI | SAT | SUN | MON | TUE | WED | THU | FRI | SAT | SUN | MON | TUE | WED | THU | FRI | SAT | SUN | APRIL MONTH 2026
TOTAL NPCL POWER | 91650 | 94050 | 24000 | 87000 | 92100 | 90000 | 91050 | 90150 | 88650 | 37650 | 98550 | 100350 | 101250 | 98250 | 94800 | 85950 | 38400 | 100800 | 101400 | 101250 | 101550 | 99900 | 101250 | 39900 | 101550 | 102450 | 103350 | 104700 | 102900 | 95100 | 45150 | 2705100
DG POWER (TRACTOR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPCL POWER (TLB) | 20512 | 20718 | 4357 | 20559 | 20881 | 20593 | 20119 | 21135 | 18027 | 9746 | 21587 | 22931 | 22930 | 22732 | 22676 | 16010 | 9684 | 23651 | 23769 | 22981 | 23260 | 23827 | 22326 | 9613 | 22522 | 22395 | 22410 | 22674 | 22500 | 19584 | 4206 | 600915
NPCL POWER (SPD) | 4613 | 4604 | 1048 | 4473 | 1501 | 4420 | 4962 | 4699 | 4613 | 1104 | 4698 | 4962 | 5393 | 5348 | 5541 | 4889 | 1272 | 5281 | 5267 | 5166 | 5244 | 4949 | 4934 | 1187 | 5196 | 5559 | 5242 | 5334 | 3558 | 6998 | 932 | 132987
NPCL POWER (TRACTOR) | 66525 | 68728 | 18595 | 61968 | 69718 | 64987 | 65969 | 64316 | 66010 | 26800 | 72265 | 72457 | 72927 | 70170 | 66583 | 65051 | 27444 | 71868 | 72364 | 73103 | 73046 | 71124 | 73990 | 29100 | 73832 | 74496 | 75698 | 76692 | 76842 | 68518 | 40012 | 1971198
DG POWER (TLB) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GAS ENGINE POWER(TLB) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GAS ENGINE POWER(TRACTOR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GAS ENGINE POWER (1) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GAS ENGINE POWER (2) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1500 KVA DG set (Stand By of Gas Genset) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SOLAR POWER | 14040 | 12650 | 11990 | 13730 | 12960 | 13811 | 14790 | 14520 | 13790 | 13070 | 10650 | 12320 | 9210 | 12570 | 13730 | 13170 | 12410 | 13580 | 12900 | 13450 | 13160 | 12710 | 11330 | 12790 | 11840 | 13140 | 12740 | 12080 | 12187 | 12938 | 7482 | 391738
TOTAL | 105690 | 106700 | 35990 | 100730 | 105060 | 103811 | 105840 | 104670 | 102440 | 50720 | 109200 | 112670 | 110460 | 110820 | 108530 | 99120 | 50810 | 114380 | 114300 | 114700 | 114710 | 112610 | 112580 | 52690 | 113390 | 115590 | 116090 | 116780 | 115087 | 108038 | 52632 | 3096838
BREAKUP POWER CONSUMPTION (KWH) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | TOTAL
CED LINE | 333 | 343 | 47 | 322 | 331 | 332 | 344 | 341 | 324 | 48 | 345 | 341 | 333 | 333 | 327 | 309 | 46 | 354 | 346 | 363 | 319 | 344 | 326 | 48 | 342 | 359 | 351 | 392 | 369 | 353 | 46 | 9111
SHEET METAL LINE | 1112 | 1190 | 377 | 946 | 1070 | 1046 | 1011 | 953 | 1041 | 463 | 982 | 1027 | 1025 | 1042 | 967 | 987 | 377 | 1021 | 1038 | 1019 | 1025 | 1045 | 1015 | 386 | 1104 | 1075 | 1067 | 1140 | 1184 | 1237 | 353 | 29325
SHEET METAL LINE NEW BUSBAR | 1370 | 1260 | 50 | 1160 | 1190 | 1220 | 1150 | 1269 | 1117 | 43 | 1114 | 1208 | 1259 | 1230 | 1180 | 1130 | 70 | 1190 | 1230 | 1250 | 1250 | 1200 | 1250 | 50 | 1160 | 1190 | 1260 | 1369 | 1313 | 1287 | 11 | 32030
New Sheet Metal ASU Panel | 2501 | 2680 | 845 | 2580 | 2404 | 2450.304 | 2357 | 2443 | 2492 | 587 | 2556.339 | 2511 | 2482 | 2594 | 2482.94 | 2490 | 51.6 | 2573 | 2676 | 2716 | 2688 | 2667.03 | 2680.39 | 79 | 2691 | 3062 | 2163 | 2830 | 2497 | 2528 | 375.624 | 68733.227
CHESSIS LINE-New | 14003 | 13139 | 1853 | 14182 | 14302 | 14111 | 14125 | 14044 | 14491 | 1819 | 14401 | 14071 | 13904 | 13912 | 13737 | 13729 | 1980 | 13959 | 13939 | 13691 | 14147 | 14012 | 14970 | 1923 | 13374 | 14373 | 13995 | 14343 | 14317 | 14309 | 2127 | 375282
Old Paint Shop Air Washer | 1649 | 1696 | 5 | 1585 | 1651 | 1635 | 1657 | 1666 | 1652 | 0 | 1658 | 1659 | 1657 | 1637 | 1624 | 1624 | 0 | 1640 | 1683 | 1714 | 1715 | 1561 | 1714 | 0 | 1688 | 1817 | 1727 | 1876 | 1857 | 1748 | 1 | 43796
Paint Shop Chiller & DM Plant & New Sheet Metal BBT | 1737 | 2199 | 654 | 1393 | 1337 | 2342 | 1976 | 2722 | 2103 | 855 | 2211 | 2752 | 2670 | 3226 | 2929 | 2478 | 1626 | 3446 | 3367 | 3095 | 3149 | 2834 | 3477 | 878 | 3788 | 2782 | 2350 | 2567 | 3180 | 3145 | 1888 | 75156
PAINT SHOP (TOTAL) | 22705 | 22507 | 3831 | 22168 | 22285 | 23136.304 | 22620 | 23438 | 23220 | 3815 | 23267.339 | 23569 | 23330 | 23974 | 23246.94 | 22747 | 4150.6 | 24183 | 24279 | 23848 | 24293 | 23663.03 | 25432.39 | 3364 | 24147 | 24658 | 22913 | 24517 | 24717 | 24607 | 4801.624 | 633433.227
AP LINE-1 | 114.4 | 101 | 49.2 | 105.8 | 108.8 | 119.2 | 115.2 | 112.6 | 109.4 | 45.4 | 120.2 | 120.6 | 117.8 | 118.4 | 119 | 111.2 | 76 | 120.2 | 124 | 123.8 | 123 | 122.2 | 109.6 | 48.4 | 120.6 | 120.4 | 123.4 | 120.4 | 108.4 | 122.4 | 67.2 | 3318.2
BP LINE-1 | 168.4 | 164 | 91.2 | 141.8 | 142.8 | 154.2 | 143.2 | 153.6 | 166.4 | 74.4 | 173.2 | 167.6 | 154.8 | 158.4 | 164 | 147.2 | 85 | 176.2 | 195 | 187.8 | 183 | 179.2 | 174.6 | 87.4 | 186.6 | 182.4 | 178.4 | 176.4 | 164.4 | 171.4 | 92.2 | 4785.2
REWORK | 381.2 | 359.3 | 143.8 | 381.8 | 394.1 | 386.6 | 371.9 | 367.6 | 379.4 | 130 | 378.1 | 380.4 | 393.6 | 374.3 | 380.2 | 362.4 | 167.1 | 365.6 | 373.4 | 375.3 | 376.5 | 379.1 | 354.7 | 218.7 | 392 | 400 | 409.7 | 400 | 396 | 381.3 | 239.1 | 10793.2
FRONT AXEL | [31 empty] | 0
AP LINE -2 | 3018 | 3107 | 292 | 3013 | 3133 | 2689 | 2652 | 2679 | 2161 | 0.362 | 2851 | 2857 | 2854 | 2842 | 2779 | 2877 | 0.32 | 3035 | 3075 | 2706 | 2964 | 2832 | 295 | 474 | 2963 | 3017 | 3123 | 3301 | 3270 | 3141 | 404 | 74404.682
BP LINE-2 | 422 | 439 | 47 | 440 | 459 | 476 | 481 | 466 | 488 | 26 | 480 | 472 | 474 | 552 | 478 | 477 | 96 | 473 | 491 | 483 | 470 | 469 | 474 | 133 | 475 | 486 | 491 | 499 | 499 | 505 | 37 | 12758
TRACTOR LINE | 4104 | 4170.3 | 623.2 | 4082.4 | 4237.7 | 3825 | 3763.3 | 3778.8 | 3304.2 | 276.162 | 4002.5 | 3997.6 | 3994.2 | 4045.1 | 3920.2 | 3974.8 | 424.42 | 4170 | 4258.4 | 3875.9 | 4116.5 | 3981.5 | 1407.9 | 961.5 | 4137.2 | 4205.8 | 4325.5 | 4496.8 | 4437.8 | 4321.1 | 839.5 | 106059.282
ENGINE SHOP | 1756 | 2895 | 842 | 2493 | 2600 | 2521 | 2560 | 2648 | 2498 | 1404 | 2525 | 2696 | 2736 | 2737 | 2768 | 2758 | 808 | 2644 | 2616 | 2903 | 2713 | 2666 | 2586 | 1421 | 2535 | 2691 | 2878 | 2767 | 2724 | 2693 | 106 | 73188
DRIVELINE | 4643 | 4932 | 718 | 4557 | 4752 | 4589 | 4664 | 4623 | 4668 | 776 | 4809 | 4715 | 4606 | 4527 | 4377 | 4606 | 963 | 4614 | 4772 | 4582 | 4745 | 4796 | 4903 | 713 | 4745 | 5050 | 4741 | 4877 | 4924 | 4936 | 637 | 126560
MACHINE SHOP TLB- Gas genset units | 4027 | 4266 | 946 | 3999 | 4048 | 4100 | 3873 | 3972 | 3527 | 2751 | 3983 | 4140 | 4160 | 4238 | 4215 | 3146 | 2688 | 4116 | 4177 | 4066 | 4058 | 4096 | 4068 | 2661 | 3992 | 3825 | 4084 | 4114 | 4068 | 3691 | 2377 | 115472
MACHINE SHOP TP - Gas genset units | 6379 | 2657 | 4109 | 4748 | 4831 | 4828 | 5132 | 5314 | 5156 | 4153 | 5034 | 5510 | 5452 | 5297 | 5259 | 4922 | 3896 | 5326 | 5414 | 5475 | 5686 | 5504 | 5651 | 4441 | 5341 | 5829 | 5816 | 5813 | 5672 | 5492 | 4272 | 158409
MACHINE SHOP (Raw Power BBT 1 & 2) | 13791 | 13325 | 3931 | 12370 | 12991 | 12724 | 12821 | 13869 | 12536 | 11391 | 13280 | 14058 | 13714 | 13370 | 13003 | 13165 | 11090 | 13540 | 14002 | 14061 | 14064 | 13743 | 13809 | 11897 | 13451 | 14200 | 14296 | 14536 | 14429 | 13935 | 11562 | 402954
Total TR Machine Shop | 20170 | 15982 | 8040 | 17118 | 17822 | 17552 | 17953 | 19183 | 17692 | 15544 | 18314 | 19568 | 19166 | 18667 | 18262 | 18087 | 14986 | 18866 | 19416 | 19536 | 19750 | 19247 | 19460 | 16338 | 18792 | 20029 | 20112 | 20349 | 20101 | 19427 | 15834 | 561363
Panel APICOM | [31 empty] | 0
Tractor Test Rig | [31 empty] | 0
AIR COMPRESSORS | 15206 | 14413 | 11045 | 13998 | 14815 | 14129 | 15391 | 14669 | 14936 | 12689 | 15253.879 | 15487 | 15033 | 13931 | 13268 | 14650 | 12314 | 14635 | 14586 | 14921 | 14612 | 14792 | 15152 | 12515 | 14764 | 14622 | 14855 | 14589 | 14031 | 14653 | 11498 | 441452.879
Bump Testing,Export Building,Forklip Area,Aux GG | 373 | 451 | 325 | 517 | 579 | 759 | 767 | 796 | 902 | 89 | 706 | 603 | 773 | 737 | 774 | 536 | 310 | 332 | 404 | 371 | 413 | 453 | 367 | 232 | 527 | 374 | 383 | 507 | 529 | 441 | 159 | 15489
DG Room Air Washer & Exhaust | 0 | 0 | 0 | 0 | 0 | 390 | 0 | 0 | 0 | 0 | 2105 | 2021 | 64 | 37 | 448 | 0 | 260 | 635 | 3210 | 2480 | 1500 | 2960 | 4850 | 410 | 500 | 1940 | 1230 | 2612 | 1811 | 2709 | 0 | 32172
STREET LIGHTS | [31 empty] | 0
ETP | 1294 | 1325 | 961 | 1274 | 1287 | 1174 | 1294 | 1316 | 1160 | 630 | 1227 | 1331 | 1398 | 1393 | 1274 | 1346 | 810 | 1437 | 1288 | 1407 | 1288 | 1324 | 1242 | 613 | 1322 | 1311 | 1365 | 1391 | 1412 | 1403 | 600 | 37897
PUMP HOUSE | 203 | 245 | 223 | 223 | 206 | 186 | 175 | 224 | 214 | 147 | 263 | 192 | 202 | 261 | 239 | 304 | 134 | 359 | 337 | 324 | 317 | 335 | 296 | 149 | 345 | 315 | 343 | 373 | 277 | 352 | 189 | 7952
FIRE FIGHTING | 114 | 100 | 58 | 101 | 121.732 | 121 | 119 | 124 | 116 | 99 | 107.232 | 108 | 104 | 103 | 103 | 104 | 95.509 | 112 | 107 | 111 | 161 | 110 | 104 | 102 | 107 | 115 | 98 | 108 | 101 | 94 | 94 | 3322.473
RO PLANT | 810 | 740 | 140 | 690 | 840 | 971 | 1080 | 1002 | 530 | 145 | 652 | 653 | 917 | 760 | 630 | 450 | 108 | 832 | 650 | 650 | 680 | 670 | 580 | 150 | 740 | 710 | 740 | 719 | 676 | 463 | 87 | 19465
OIL YARD | 87 | 38 | 10 | 90 | 90 | 120 | 120 | 120 | 6 | 0 | 26 | 100 | 10 | 15 | 20 | 46 | 34 | 11 | 10 | 40 | 13 | 50 | 12 | 0 | 50 | 60 | 100 | 110 | 100 | 130 | 0 | 1618
UTILITY (Total) | 18087 | 17312 | 12762 | 16893 | 17938.732 | 17850 | 18946 | 18251 | 17864 | 13799 | 20340.111 | 20495 | 18501 | 17237 | 16756 | 17436 | 14065.509 | 18353 | 20592 | 20304 | 18984 | 20694 | 22603 | 14171 | 18355 | 19447 | 19114 | 20409 | 18937 | 20245 | 12627 | 559368.352
CHILLER | 3576 | 4052 | 1867 | 3174 | 3088 | 3397 | 3082 | 3272 | 2565 | 1722 | 3954 | 4082 | 3827 | 4244 | 3657 | 3386 | 1970 | 5192 | 5587 | 5782 | 5765 | 5404 | 5568 | 2083 | 5736 | 5497 | 4972 | 5003 | 4120 | 3620 | 2300 | 121544
OFFICE LIGHTING + Fan coil units (MAIN) | 389 | 418 | 216 | 604 | 158 | 397 | 392 | 412 | 283 | 178 | 604 | 536 | 453 | 456 | 491 | 444 | 157 | 688 | 676 | 668 | 657 | 547 | 458 | 145 | 682 | 698 | 707 | 581 | 529 | 443 | 188 | 14255
MAIN GATE | 55 | 58 | 51 | 53 | 54 | 54 | 54 | 54 | 59 | 55 | 67 | 67 | 70 | 69 | 67 | 68 | 53 | 83 | 79 | 81 | 80 | 77 | 75 | 67 | 84 | 78 | 76 | 78 | 66 | 59 | 54 | 2045
MATERIAL GATE | 168 | 168 | 141 | 139 | 158 | 162 | 143 | 129 | 120 | 106 | 180 | 186 | 162 | 154 | 198 | 218 | 168 | 190 | 159 | 156 | 151 | 199 | 203 | 162 | 213 | 215 | 216 | 218 | 183 | 144 | 103 | 5212
TRAINING CENTER | 169 | 169 | 140 | 140 | 158 | 163 | 144 | 129 | 120 | 107 | 179 | 187 | 163 | 155 | 199 | 219 | 168 | 189 | 159 | 157 | 151 | 200 | 202 | 163 | 213 | 214 | 217 | 219 | 184 | 144 | 103 | 5224
First Floor+ TOP FLOOR UPS (OLD BBT-1) | 1074 | 1017.7 | 459.8 | 1035.6 | 1094.3 | 1108 | 1089.7 | 1067.2 | 1082.8 | 437.2 | 1093.5 | 1116.4 | 1110.8 | 1090.9 | 1094.8 | 1046.2 | 575.9 | 1104 | 1119.6 | 1128.1 | 1107.5 | 1113.5 | 1049.1 | 536.5 | 1131.8 | 1152.2 | 1174.5 | 1159.2 | 1081.2 | 1109.9 | 633.5 | 31195.4
CANTEEN | 1393 | 1520 | 1071 | 1007 | 1125 | 1323 | 983 | 1239 | 1524 | 1081 | 2012 | 1918 | 1590 | 1718 | 1377 | 1408 | 1336 | 1551 | 1645 | 1554 | 1758 | 1996 | 1553 | 1543 | 1934 | 1940 | 2035 | 1863 | 1550 | 1410 | 1217 | 47174
ADMINISTRATION | 1855 | 1830.7 | 1007.8 | 1971.6 | 1622.3 | 1884 | 1822.7 | 1791.2 | 1664.8 | 883.2 | 2123.5 | 2092.4 | 1958.8 | 1924.9 | 2049.8 | 1995.2 | 1121.9 | 2254 | 2192.6 | 2190.1 | 2146.5 | 2136.5 | 1987.1 | 1073.5 | 2323.8 | 2357.2 | 2390.5 | 2255.2 | 2043.2 | 1899.9 | 1081.5 | 57931.4
Data Centre (New + Old) | 595 | 484 | 280 | 410 | 1052 | 1984 | 1957 | 1962 | 1908 | 1758 | 1982.169 | 2069 | 2112 | 2173 | 2173 | 2285 | 1899.37 | 2287 | 2324 | 2390 | 2337 | 2350.27 | 2344.07 | 2327 | 2308 | 2409 | 2370 | 2355 | 2243 | 2423 | 2456 | 60006.879
WAREHOUSE | 546 | 584 | 170 | 500 | 547 | 553 | 454 | 529 | 545 | 271 | 701 | 746 | 739 | 741 | 727 | 657 | 272 | 763 | 822 | 830 | 774 | 779 | 820 | 286 | 866 | 800 | 866 | 844 | 745 | 617 | 232 | 19326
FDV (DRIVE LINE+MACHINE SHOP) | 1521 | 1382 | 51 | 1494 | 1624 | 1604 | 1618 | 1591 | 1572 | 856 | 1566 | 1560 | 1579 | 1535 | 1534 | 1551 | 851 | 1564 | 1683 | 1722 | 1703 | 1473 | 1166 | 221 | 1626 | 1998 | 2003 | 1990 | 2041 | 2001 | 840 | 45520
OFFICE FF (TLB) | 1243 | 1373 | 763 | 1253 | 1188 | 1204 | 1141 | 1211 | 739 | 611 | 1567 | 1538 | 1452 | 1476 | 1584 | 823 | 1137 | 1963 | 1984 | 2932 | 2012 | 1920 | 1615 | 767 | 1957 | 2025 | 1923 | 1961 | 1581 | 1338 | 731 | 45012
OFFICE G FLR TLB | 661 | 630 | 46 | 715 | 690 | 534 | 613 | 723 | 628 | 86 | 695 | 706 | 711 | 751 | 773 | 765 | 124 | 820 | 886 | 874 | 892 | 895 | 738 | 97 | 887 | 930 | 986 | 918 | 838 | 679 | 146 | 20437
OFFICE AREA | 661 | 630 | 45 | 715 | 690 | 534 | 613 | 723 | 628 | 86 | 695 | 706 | 711 | 751 | 773 | 765 | 124 | 820 | 886 | 874 | 892 | 895 | 738 | 97 | 887 | 930 | 986 | 918 | 3741 | 679 | 146 | 23339
ASSEMBLY | 3466 | 3256 | 121 | 4134 | 3528 | 4801 | 3826 | 3747 | 3706 | 1335 | 3531 | 4161 | 3717 | 3928 | 3483 | 1741 | 1284 | 3743 | 3683 | 2260 | 3296 | 2611 | 4093 | 1040 | 3774 | 3480 | 3391 | 3640 | 3741 | 3268 | 1411 | 97196
MACHINE SHOP (TLB) | 4027 | 4266 | 946 | 3999 | 4048 | 4100 | 3873 | 3972 | 3527 | 2751 | 3983 | 4140 | 4160 | 4238 | 4215 | 3146 | 2688 | 4116 | 4177 | 4066 | 4058 | 4096 | 4068 | 2661 | 3992 | 3825 | 4084 | 4114 | 4068 | 3691 | 2377 | 115472
PAINT SHOP (TLB) | 1746 | 1779 | 66 | 2048 | 1601 | 1648 | 1758 | 1727 | 1595 | 91 | 1613 | 1868 | 1942 | 1874 | 1226 | 1362 | 43 | 1958 | 1612 | 1779 | 1687 | 1583 | 1777 | 81 | 1625 | 1333 | 1355 | 1770 | 1864 | 3451 | 45 | 45907
UTILITY (TLB) | 3012 | 3847 | 893 | 3643 | 3598 | 3787 | 3730 | 3708 | 3496 | 2658 | 3836 | 3876 | 3841 | 3779 | 3831 | 3040 | 2545 | 3548 | 3558 | 3529 | 3476 | 3560 | 3543 | 2401 | 3733 | 3583 | 3561 | 3616 | 3602 | 3451 | 2539 | 104820
P.T.O Testing | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bimal Testing. | 61 | 65 | 34 | 56 | 62 | 64 | 60 | 70 | 55 | 30 | 61 | 68 | 66 | 71 | 63 | 30 | 26 | 73 | 62 | 78 | 60 | 76 | 68 | 39 | 63 | 54 | 61 | 79 | 62 | 65 | 20 | 1802
NEW SPD | 2062 | 1910 | 966 | 1651 | 2496 | 1032 | 1678 | 1978 | 1330 | 793 | 1979 | 1943 | 2063 | 1983 | 2055 | 1978 | 821 | 2159 | 215 | 2124 | 2275 | 2355 | 2162 | 999 | 2333 | 2310 | 2296 | 2257 | 2252 | 1854 | 946 | 55255
MATERIAL GATE | 168 | 168 | 141 | 139 | 158 | 162 | 143 | 129 | 120 | 106 | 180 | 186 | 162 | 154 | 198 | 218 | 168 | 190 | 159 | 156 | 151 | 199 | 203 | 162 | 213 | 215 | 216 | 218 | 183 | 144 | 103 | 5212
TRAINING CENTER | 169 | 169 | 140 | 140 | 158 | 163 | 144 | 129 | 120 | 107 | 179 | 187 | 163 | 155 | 199 | 219 | 168 | 189 | 159 | 157 | 151 | 200 | 202 | 163 | 213 | 214 | 217 | 219 | 184 | 144 | 103 | 5224
PD | 2986 | 3149 | 369 | 2308 | 2542 | 2436 | 2460 | 3018 | 2123 | 929 | 3115 | 3892 | 3814 | 4029 | 3853 | 3182 | 539 | 4384 | 4650 | 4473 | 4426 | 4288 | 3848 | 538 | 3297 | 3171 | 3304 | 3362 | 3433 | 3107 | 447 | 91472
TLB (TOTAL) | 17697 | 18609 | 3676 | 18118 | 18191 | 18193 | 17672 | 18478 | 16072 | 8800 | 18477 | 20321 | 19928 | 20211 | 19123 | 14916 | 8282 | 20360 | 18275 | 18622 | 19580 | 18968 | 19964 | 8084 | 19243 | 18185 | 18485 | 19275 | 19389 | 19175 | 7991 | 522360
TOTAL (KWH) | 96639 | 93874 | 33599 | 92501 | 95358.732 | 96427.304 | 96480 | 99188 | 93659 | 49747.362 | 102022.619 | 105618 | 102078 | 101408 | 98273.94 | 93572 | 50084.799 | 104013 | 105427 | 105850 | 105502 | 105166.3 | 106174.46 | 51042 | 103430 | 106296 | 104709 | 108440 | 108807 | 105484 | 49333.624 | 2870205.14
Losses in KWH | 9051 | 12826 | 2391 | 8229 | 9701.268 | 7383.696 | 9360 | 5482 | 8781 | 972.638 | 7177.381 | 7052 | 8382 | 9412 | 10256.06 | 5548 | 725.201 | 10367 | 8873 | 8850 | 9208 | 7443.7 | 6405.54 | 1648 | 9960 | 9294 | 11381 | 8340 | 6280 | 2554 | 3298.376 | 226632.86
Losses in % | 8.5637 | 12.0206 | 6.6435 | 8.1694 | 9.234 | 7.1126 | 8.8435 | 5.2374 | 8.5718 | 1.9177 | 6.5727 | 6.259 | 7.5883 | 8.4931 | 9.45 | 5.5973 | 1.4273 | 9.0636 | 7.7629 | 7.7158 | 8.0272 | 6.6102 | 5.6898 | 3.1277 | 8.7838 | 8.0405 | 9.8036 | 7.1416 | 5.4567 | 2.364 | 6.2669 | 7.3182
BREAKUP DG POWER (KWH) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | TOTAL
DG NO-1 (1250 KVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DG NO-2 (1250 KVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DG NO-3 (N1) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DG NO-4 (N2) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DG NO-5A (500KVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DG NO-5 1500 KVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DG NO-6 750 KVA(TLB) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DG NO-7 1250 KVA(TLB) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL (KWH) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
HSD CONSUMPTION (LTR) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | TOTAL
DG NO-1 (1250 KVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DG NO-2 (1250 KVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DG NO-3 (N1) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DG NO-4 (N2) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DG NO-5A (500KVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DG NO-5 1500 KVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DG NO-6 750 KVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DG NO-7 1250 KVA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL (LTR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
GAS CONSUMPTION (SCM) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | TOTAL
PAINT SHOP + CANTEEN
GAS GENRATOR | [31 empty] | 0
TOTAL (SCM)
G.G ENGINE EFFICIENCY (KWH / SCM) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DG SET RUNNING HOURS | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | TOTAL
DG NO-1 (1250 KVA) | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00
DG NO-2 (1250 KVA) | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00
DG NO-3 (N1) | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00
DG NO-4 (N2) | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00
DG NO-5A (500KVA) | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00
DG NO-5 1500 KVA | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00
DG NO-6 750 KVA | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00
DG NO-7 1250 KVA | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00
TOTAL (HRS) | 24:00 | 48:00 | 72:00 | 96:00 | 120:00 | 144:00 | 168:00 | 192:00 | 216:00 | 240:00 | 264:00 | 288:00 | 312:00 | 336:00 | 360:00 | 384:00 | 408:00 | 432:00 | 456:00 | 480:00 | 504:00 | 528:00 | 552:00 | 576:00 | 600:00 | 624:00 | 648:00 | 672:00 | 696:00 | 720:00 | 744:00 | #VALUE!
GAS GEN. RUNNING HOURD (Both Set)
ENGINE EFFICIENCY (KWH / LTR) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
DG NO-1 (1250 KVA) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DG NO-2 (1250 KVA) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DG NO-3 (N1) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DG NO-4 (N2) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DG NO-5A (500KVA) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DG NO-5 1500 KVA | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DG NO-6 750 KVA | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DG NO-7 1250 KVA | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0:00
GG EFFICIENCY KWH / SCM | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
POWER CONDITIONS | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | TOTAL
NPCL TRIPPING | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00
NPCL FAILURE HOURS | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00
NPCL POWER FACTOR | 0.989 | 0.991 | 0.997 | 0.998 | 0.998 | 1 | 995 | 0.998 | 0.996 | 0.992 | 0.992 | 0.998 | 0.991 | 0.993 | 0.995 | 0.993 | 1 | 0.991 | 0.993 | 0.992 | 0.998 | 0.995 | 0.998 | 0.996 | 0.991 | 0.998 | 0.995 | 0.998 | 0.998 | 0.998 | 0.997 | 33.06
TRACTOR / TLB | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 0 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | TOTAL
TRACTOR PRODUCTION
TLB PRODUCTION
KWH / TRACTOR
KWH / TLB
0
AIR COMPRESSOR RUNNING HOURS | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | TOTAL
AIR COMP-01 (160 KW) | 7 | 24 | 8 | 24 | 7 | 24 | 8 | 23 | 8 | 20 | 7 | 24 | 8 | 7 | 24 | 17 | 18 | 12 | 15 | 18 | 24 | 7 | 7 | 19 | 9 | 24 | 8 | 24 | 7 | 22 | 3 | 457
AIR COMP-02 (160 KW) | 22 | 9 | 6 | 0 | 16 | 0 | 23 | 7 | 22 | 11 | 13 | 24 | 11 | 2 | 2 | 4 | 7 | 23 | 15 | 12 | 14 | 15 | 24 | 4 | 8 | 9 | 16 | 13 | 7 | 12 | 23 | 374
AIR COMP-03 (160 KW) | 24 | 15 | 6 | 6 | 24 | 7 | 24 | 7 | 15 | 12 | 24 | 8 | 24 | 24 | 6 | 18 | 8 | 16 | 18 | 24 | 14 | 24 | 24 | 8 | 22 | 19 | 24 | 7 | 24 | 8 | 15 | 499
AIR COMP-4A VSD (90KW) | 1 | 8 | 15 | 23 | 7 | 24 | 0 | 17 | 8 | 5 | 14 | 0 | 18 | 22 | 22 | 12 | 13 | 4 | 6 | 2 | 2 | 14 | 0 | 0 | 18 | 2 | 9 | 11 | 17 | 12 | 14 | 320
Air COMP-05 (22 VSD) | 18 | 18 | 5 | 17 | 18 | 17 | 19 | 17 | 18 | 7 | 17 | 18 | 18 | 17 | 18 | 18 | 6 | 17 | 18 | 18 | 17 | 18 | 18 | 0 | 18 | 19 | 16 | 20 | 17 | 17 | 2 | 481
AIR COMP-06 | 18 | 17 | 18 | 18 | 17 | 17 | 17 | 17 | 17 | 13 | 17 | 17 | 17 | 17 | 17 | 23 | 16 | 17 | 18 | 17 | 17 | 17 | 17 | 20 | 18 | 17 | 17 | 17 | 13 | 17 | 8 | 523
AIR COMP-07 (90 KW) TLB | 15 | 24 | 0 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 332
AIR COMP-08 (30 KW) TLB | 15 | 16 | 7 | 21 | 15 | 16 | 17 | 16 | 14 | 0 | 17 | 17 | 18 | 17 | 17 | 4 | 24 | 9 | 8 | 9 | 7 | 8 | 7 | 23 | 8 | 9 | 8 | 8 | 9 | 7 | 3 | 374
AIR COMP-09 VSD (90 KW) TLB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 22 | 352
AIR COMSUMPTION IN CFM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | TOTAL
COMPRESSED AIR (CFM) | 3535000 | 3634000 | 2588000 | 2852000 | 3173000 | 2852000 | 3346000 | 3352000 | 2643000 | 2685000 | 3158000 | 3520000 | 3228000 | 2784000 | 2737000 | 3138000 | 2736000 | 2318000 | 3360000 | 3511000 | 3477000 | 3272000 | 3514000 | 3066000 | 3117000 | 3545000 | 3374000 | 3106000 | 2922000 | 2949000 | 2456000 | 95948000
HUMIDITY (%) | 31.77 | 29.23 | 33.86 | 37.17 | 39.67 | 39.38 | 40.83 | 41.4 | 41.56 | 41.67 | 41.59 | 13.07 | 43.21 | 41.45 | 40.91 | 37.69 | 36.26 | 34.63 | 31.92 | 30.67 | 28.74 | 28.1 | 27.85 | 26.54 | 26.54 | 29.98 | 25.4 | 27.95 | 30.08 | 32.74 | 35.38 | 1047.24
DUE POINT °C | 7.5 | 6.8 | 3.21 | 8.66 | 8.63 | 38 | 7.79 | 10.76 | 12.52 | 12.72 | 13.38 | 12.11 | 12.02 | 14.17 | 14.54 | 15.07 | 13.77 | 14.09 | 14.25 | 13.31 | 12.04 | 11.68 | 10.49 | 12.49 | 12.49 | 8.38 | 7.08 | 6.14 | 6.32 | 5.29 | 8.64 | 354.34
TOTAL CFM | 3535000 | 3634000 | 2588000 | 2852000 | 3173000 | 2852000 | 3346000 | 3352000 | 2643000 | 2685000 | 3158000 | 3520000 | 3228000 | 2784000 | 2737000 | 3138000 | 2736000 | 2318000 | 3360000 | 3511000 | 3477000 | 3272000 | 3514000 | 3066000 | 3117000 | 3545000 | 3374000 | 3106000 | 2922000 | 2949000 | 2456000 | 95949401.58
Service status of Air compressors | FRI: Area; SUN: Rating; MON: STATUS (OK / Not OK); TUE: Present runing HRS; WED: Air filter; FRI: Oil filter; SUN: Oil; TUE: Oil separator; THU: Remarks
[6 empty] | Done HRS | Due HRS | Done HRS | Due HRS | Done HRS | Due HRS | Done HRS | Due HRS
AIR COMP-01 (1080 CFM) | FRI: Tractor plant utility; SUN: 160 KW; MON: OK; TUE: 62815; WED: 62231; THU: 65231; FRI: 62231; SAT: 68231; SUN: 62231; MON: 68231; TUE: 62231; WED: 68231
AIR COMP-02 (1067 CFM) | FRI: Tractor plant utility; SUN: 160 KW; MON: OK; TUE: 54918; WED: 52516; THU: 55516; FRI: 51358; SAT: 57358; SUN: 51538; MON: 57538; TUE: 51538; WED: 57538
AIR COMP-03 (1080 CFM) | FRI: Tractor plant utility; SUN: 160 KW; MON: OK; TUE: 55384; WED: 53102; THU: 56102; FRI: 53102; SAT: 59102; SUN: 53102; MON: 59102; TUE: 43102; WED: 49102
AIR COMP-04 (602 CFM) | FRI: Tractor plant utility; SUN: 90 KW; MON: OK; TUE: 47695; WED: 46588; THU: 48588; FRI: 43614; SAT: 47114; SUN: 43614; MON: 47114; TUE: 43614; WED: 49614
AIR COMP-01 (567 CFM) | FRI: TLB plant utility; SUN: 90 KW; MON: OK; TUE: 49662; WED: 48298; THU: 50298; FRI: 43250; SAT: 46750; SUN: 43250; MON: 46750; TUE: 43250; WED: 49250
AIR COMP-02 (250 CFM) | FRI: TLB plant utility; SUN: 37 KW; MON: OK; TUE: 21746; WED: 20438; THU: 22438; FRI: 19016; SAT: FALSE; SUN: 19016; MON: 22516; TUE: 19016; WED: 25016
AIR COMP-03 (602 CFM) | FRI: TLB plant utility; SUN: 90 KW; MON: Not ok
Service status of DG sets | FRI: Area; SUN: Rating; MON: STATUS (OK / Not OK); TUE: Present runing HRS; WED: B - Check; FRI: C - Check; SUN: D - Check; TUE: Remarks
[6 empty] | Done HRS | Due HRS | Done HRS | Due HRS | Done HRS | Due HRS
DG NO.-1 | FRI: Tractor plant utility; SUN: 1250 KVA; MON: OK; TUE: 8588.1; WED: 8408.8; THU: 8708.8; FRI: 8476.7
DG NO.-2 | FRI: Tractor plant utility; SUN: 1250 KVA; MON: OK; TUE: 8700.8; WED: 8582; THU: 8882; FRI: 8583.6
DG NO.-3 | FRI: Tractor plant utility; SUN: 1250 KVA; MON: OK; TUE: 7771.3; WED: 7554.6; THU: 7854.6; FRI: 7636
DG NO.-4 | FRI: Tractor plant utility; SUN: 1250 KVA; MON: OK; TUE: 7477.6; WED: 7276; THU: 7576; FRI: 7356.5
DG NO.-5 | FRI: Tractor plant utility; SUN: 1500 KVA; MON: OK; TUE: 4181.6; WED: 4152; THU: 4452
DG No.-6 | FRI: Tractor plant utility; SUN: 500 KVA; MON: OK; TUE: 757.2; WED: 725; THU: 1025
GAS GEN. | FRI: Tractor plant utility; SUN: 1875 KVA; MON: OK; TUE: 12682; WED: 37481; THU: 37781
DG NO.-1 | FRI: TLB plant utility; SUN: 750 KVA; MON: OK; TUE: 14035.4; WED: 13809.5; THU: 14109.5
DG NO.-2 | FRI: TLB plant utility; SUN: 1250 KVA; MON: OK; TUE: 3200.7; WED: 3123.7; THU: 3423.7; FRI: 3167
PENDING ISSUE | FRI: START DATE; FRI: REASON; TUE: RESPONSIBILITY; SAT: TARGET DATE; WED: SUPPORT REQUIRED
[5 empty] | 5133 |  | 6000 Hrs. Service |  | #REF! |  | 6000 Hrs. Service
[5 empty] | 6005 |  | 6000 Hrs. Service |  | #REF! |  | 6000 Hrs. Service
[5 empty] | 0 |  | 6000 Hrs. Service |  |  |  | 6000 Hrs. Service
[5 empty] | 7332 |  | Full Service |  | #REF! |  | Full Service
[5 empty] | 418 |  | Full Service |  | #REF! |  | Full Service
[5 empty] | 5798.8 |  | B-Check |  | #REF! |  | B-Check
[5 empty] | 5855.1 |  | B-Check |  | #REF! |  | B-Check
[5 empty] | 1805 |  | B-Check |  | #REF! |  | B-Check
[5 empty] | 4896.4 |  | B-Check |  | #REF! |  | B-Check
[5 empty] | 4851.3 |  | B-Check |  | #REF! |  | B-Check
[5 empty] | 1153.4 |  | B-Check |  | #REF! |  | B-Check
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BUS -4 | MON: 62684; TUE: 81912; WED: 19228; THU: 2136.4444; FRI: #REF!; SAT: #REF!; SUN: 1800; MON: 600; TUE: 66.6667
BUS-2 | MON: 1176; TUE: 1450; WED: 274; THU: 30.4444
ENGINE SHOP | MON: 495324; TUE: 530473; WED: 35149; THU: 3905.4444; FRI: #REF!; SAT: #REF!
AIR COMP.-1 | MON: 399083; TUE: 459405; WED: 60322; THU: 6702.4444
AIR COMP.-2 | MON: 204066; TUE: 208928; WED: 4862; THU: 540.2222
COOLING TOWER-1 | WED: 0; THU: 0
COOLING TOWER-2 | MON: 111166; TUE: 121246; WED: 10080; THU: 1120
ETP | MON: 6108; TUE: 6276; WED: 168; THU: 18.6667
PUMP HOUSE | MON: 27789; TUE: 30593; WED: 2804; THU: 311.5556
FIRE FIGHTING | MON: 6108; TUE: 6276; WED: 168; THU: 18.6667
OIL YARD | MON: 9027; TUE: 9104; WED: 77; THU: 8.5556
CANTEEN | MON: 92280; TUE: 106156; WED: 13876; THU: 1541.7778
WARE HOUSE | MON: 62555; TUE: 78949; WED: 16394; THU: 1821.5556
[5 empty] | 668333 | 65184 | 7242.6667 | #REF! | #REF!
[7 empty] | a | b
[7 empty] | 23066940 | 23081219 | 14279
243.54
242.211
1.329
Note on I162: Done date 13/11/2025
Note on K162: Done date 13/11/2025
Note on M162: Done date 13/11/2025
Note on I163: Done date 10/05/2025
Note on K163: Done date 10/05/2025
Note on M163: Done date 10/05/2025
Note on I164: Done date 13/05/2025
Note on K164: Done date 13/05/2025
Note on M164: Done date 13/05/2025
Note on G165: Done date 15/09/2025
Note on I165: Done date 11/06/2025
Note on K165: Done date 11/06/2025
Note on M165: Done date 11/06/2025
Note on G166: Done date 19/10/2025
Note on I166: Done date Done Date18/09/2024
Note on K166: Done date 18/09/2024
Note on M166: Done date 18/09/2024
Note on G167: Done date 14/07/2025
Note on I167: Done date 12/01/2025
Note on K167: Done date 12/01/2025
Note on M167: Done date 12/01/2025
Note on G171: Date date 21/03/2021
Note on H171: Due date 21/09/2021
Note on G172: Done date 24/07/2021
Note on H172: Due date 27/01/2022
Note on G173: Done date 21/03/2021
Note on H173: Due date 21/09/2021
Note on G174: Done date 31/12/2020
Note on H174: Due date 31/06/2021
Note on G175: Done date 04/04/2021
Note on H175: Due date 04/10/2021
Note on G176: Done date 29/12/2020
Note on H176: Due date 19/12/2021
Note on G178: Done date 29/12/2019
Note on H178: Due date 29/06/2020
Note on G179: Done date 04/04/2021
Note on H179: Due date 04/10/2021